## KNX Group Addresses
KNX Group Addresses
Main Group | Main Group ID | Middle Group | Middle Group ID | DPT | Device-ID | Sub Group ID | GA Description | Comment
Light & Power | 0 | Switch | 0 | DPST-1-1 | B0-0-L | 0 | Basement Office - Ceiling light - Light & Power Switch | Additional comment
Light & Power | 0 | Switch | 0 | DPST-1-1 | T0-0-L | 1 | Top Floor Bathroom - Ceiling light - Light & Power Switch | is added to ETS description field
Light & Power | 0 | Switch | 0 | DPST-1-1 | T1-0-L | 2 | Top Floor Bedroom - Wall light (north) - Light & Power Switch
Light & Power | 0 | Switch | 0 |  |  | 3 |  | Ignored if no DPT is defined
Light & Power | 0 | Switch | 0 | DPST-1-1 | B1-2-P | 4 | Basement Kitchen - Wall plug - next to bed. - Light & Power Switch
Light & Power | 0 | Switch | 0 |  |  | 5 |  | Ignored if no DPT is defined
Light & Power | 0 | Status | 1 | DPST-1-1 | B0-0-L | 0 | Basement Office - Ceiling light - Light & Power Status
Light & Power | 0 | Status | 1 | DPST-1-1 | T0-0-L | 1 | Top Floor Bathroom - Ceiling light - Light & Power Status
Light & Power | 0 | Status | 1 | DPST-1-1 | T1-0-L | 2 | Top Floor Bedroom - Wall light (north) - Light & Power Status
Light & Power | 0 | Status | 1 |  |  | 3 |  | Ignored if no DPT is defined
Light & Power | 0 | Status | 1 | DPST-1-1 | B1-2-P | 4 | Basement Kitchen - Wall plug - next to bed. - Light & Power Status
Light & Power | 0 | Status | 1 |  |  | 5 |  | Ignored if no DPT is defined
Blinds | 1 | Up/Down | 0 | DPST-1-8 | B0-1-B | 0 | Basement Office - Blinds - Blinds Up/Down
Blinds | 1 | Up/Down | 0 | DPST-1-8 | T1-1-B | 1 | Top Floor Bedroom - Blinds (east) - Blinds Up/Down
Blinds | 1 | Stop | 1 | DPST-1-1 | B0-1-B | 0 | Basement Office - Blinds - Blinds Stop
Blinds | 1 | Stop | 1 | DPST-1-1 | T1-1-B | 1 | Top Floor Bedroom - Blinds (east) - Blinds Stop
Blinds | 1 | Absolute Position | 2 | DPST-5-1 | B0-1-B | 0 | Basement Office - Blinds - Blinds Absolute Position
Blinds | 1 | Absolute Position | 2 | DPST-5-1 | T1-1-B | 1 | Top Floor Bedroom - Blinds (east) - Blinds Absolute Position
Blinds | 1 | Status Position | 4 | DPST-5-1 | B0-1-B | 0 | Basement Office - Blinds - Blinds Status Position
Blinds | 1 | Status Position | 4 | DPST-5-1 | T1-1-B | 1 | Top Floor Bedroom - Blinds (east) - Blinds Status Position

## Room Book
Room Book
Legend: Types
L | Light
B | Blind / Roller Shutter
P | Wall plug
ID | Level | Room | Room ID | Outlet-ID per Room | Type | Location | Description | Comment
B0-0-L | Basement | Office | B0 | 0 | L | Ceiling | Ceiling light
B0-1-B | Basement | Office | B0 | 1 | B | South | Blinds
B1-2-P | Basement | Kitchen | B1 | 2 | P | North | Wall plug - next to bed.
T0-0-L | Top Floor | Bathroom | T0 | 0 | L | Ceiling | Ceiling light
T1-0-L | Top Floor | Bedroom | T1 | 0 | L | Wall | Wall light (north)
T1-1-B | Top Floor | Bedroom | T1 | 1 | B | East | Blinds (east)