## KNX Group Addresses
KNX Group Addresses
Main-Group: 0-31
Middle-Group: 0-7
Sub-Group: 0-255
Nr | Main Group | Nr | Middle Group | Nr | DPT | Device-ID | GA | GA Description | Comment
0 |  | 0 |  | 0 |  |  |  | 0/0/0 is a reserved KNX broadcast address. Don’t use. | Reserved KNX broadcast address
0 | Light & Power | 0 | Switch | 1 | DPST-1-1 | B0-0-L | 0/0/1 | Basement Office - Ceiling light - Light & Power Switch | Additional comment
0 | Light & Power | 0 | Switch | 2 | DPST-1-1 | T0-0-L | 0/0/2 | Top Floor Bathroom - Ceiling light - Light & Power Switch | is added to ETS description field
0 | Light & Power | 0 | Switch | 3 | DPST-1-1 | T1-0-L | 0/0/3 | Top Floor Bedroom - Wall light (north) - Light & Power Switch
0 | Light & Power | 0 | Switch | 4 |  |  |  |  | Ignored if no DPT is defined
0 | Light & Power | 0 | Switch | 5 | DPST-1-1 | B1-2-P | 0/0/5 | Basement Kitchen - Wall plug - next to bed. - Light & Power Switch
0 | Light & Power | 0 | Switch | 6 |  |  |  |  | Ignored if no DPT is defined
0 | Light & Power | 1 | Status | 1 | DPST-1-1 | B0-0-L | 0/1/1 | Basement Office - Ceiling light - Light & Power Status
0 | Light & Power | 1 | Status | 2 | DPST-1-1 | T0-0-L | 0/1/2 | Top Floor Bathroom - Ceiling light - Light & Power Status
0 | Light & Power | 1 | Status | 3 | DPST-1-1 | T1-0-L | 0/1/3 | Top Floor Bedroom - Wall light (north) - Light & Power Status
0 | Light & Power | 1 | Status | 4 |  |  |  |  | Ignored if no DPT is defined
0 | Light & Power | 1 | Status | 5 | DPST-1-1 | B1-2-P | 0/1/5 | Basement Kitchen - Wall plug - next to bed. - Light & Power Status
0 | Light & Power | 1 | Status | 6 |  |  |  |  | Ignored if no DPT is defined
1 | Blinds | 0 | Up/Down | 0 | DPST-1-8 | B0-1-B | 1/0/0 | Basement Office - Blinds - Blinds Up/Down
1 | Blinds | 0 | Up/Down | 1 | DPST-1-8 | T1-1-B | 1/0/1 | Top Floor Bedroom - Blinds (east) - Blinds Up/Down
1 | Blinds | 1 | Stop | 0 | DPST-1-1 | B0-1-B | 1/1/0 | Basement Office - Blinds - Blinds Stop
1 | Blinds | 1 | Stop | 1 | DPST-1-1 | T1-1-B | 1/1/1 | Top Floor Bedroom - Blinds (east) - Blinds Stop
1 | Blinds | 2 | Absolute Position | 0 | DPST-5-1 | B0-1-B | 1/2/0 | Basement Office - Blinds - Blinds Absolute Position
1 | Blinds | 2 | Absolute Position | 1 | DPST-5-1 | T1-1-B | 1/2/1 | Top Floor Bedroom - Blinds (east) - Blinds Absolute Position
1 | Blinds | 4 | Status Position | 0 | DPST-5-1 | B0-1-B | 1/4/0 | Basement Office - Blinds - Blinds Status Position
1 | Blinds | 4 | Status Position | 1 | DPST-5-1 | T1-1-B | 1/4/1 | Top Floor Bedroom - Blinds (east) - Blinds Status Position

## Room Book
Room Book
Legend: Types
L | Light
B | Blind / Roller Shutter
P | Wall plug
ID | Level | Room | Room ID | Outlet-ID per Room | Type | Location | Description | Comment
B0-0-L | Basement | Office | B0 | 0 | L | Ceiling | Ceiling light
B0-1-B | Basement | Office | B0 | 1 | B | South | Blinds
B1-2-P | Basement | Kitchen | B1 | 2 | P | North | Wall plug - next to bed.
T0-0-L | Top Floor | Bathroom | T0 | 0 | L | Ceiling | Ceiling light
T1-0-L | Top Floor | Bedroom | T1 | 0 | L | Wall | Wall light (north)
T1-1-B | Top Floor | Bedroom | T1 | 1 | B | East | Blinds (east)